## Sheet1
WARRANTY TYPE
Product Number | Description | 1 year Standard Base | 5 year Compressor | 10 Year Heat Exchanger | 1/3 Commercial Use | 5 year Commercial Use
KSWG009-H113 | 9,000 Btu/h Mini-split heat pump, 13 SEER, 110 V | X | X |  | X
KSWG009-H113 | 9,000 Btu/h Wall mounted fan coil, 110 V | X |  |  | X
KSWG012-H113 | 12,000 Btu/h Mini-split heat pump,13 SEER, 110 V | X | X |  | X
KSWG012-H113 | 12,000 Btu/h Wall mounted fan coil, 110 V | X |  |  | X
KSWG018-H213 | 18,000 Btu/h Mini-split heat pump,13 SEER, 220 V | X | X |  | X
KSWG018-H213 | 18,000 Btu/h Wall mounted fan coil, 110 V | X |  |  | X
KSWG024-H213 | 24,000 Btu/h Mini-split heat pump,13 SEER, 220 V | X | X |  | X
KSWG024-H213 | 24,000 Btu/h Wall mounted fan coil, 110 V | X |  |  | X
KSIM20912-H216 | Dual zone inverter ductless mini-split, 16 SEER, 220 V | X | X |  | X
KSIM30912-H216 | Tri-zone inverter ductless mini-split, 16 SEER, 220 V | X | X |  | X
KSIM40912-H216 | Quad-zone inverter ductless mini-split, 16 SEER, 220 V | X | X |  | X
KWIM09-H2 | 9,000 Btu/h Wall mounted fan coil inverter type, 220 V | X |  |  | X
KWIM12-H2 | 12,000 Btu/h Wall mounted fan coil inverter type, 220 V | X |  |  | X
KWIM18-H2 | 18,000 Btu/h Wall mounted fan coil inverter type, 220 V | X |  |  | X
KSIL009-H219 | 9,000 Btu/h Outdoor unit mini-split inverter, 19 SEER, 220 V | X | X |  | X
KSIL009-H219 | 9,000 Btu/h Wall mounted fan coil, inverter type, 220 V | X |  |  | X
KSIL012-H219 | 12,000 Btu/h Outdoor unit mini-split inverter, 19 SEER, 220 V | X | X |  | X
KSIL012-H219 | 12,000 Btu/h Wall mounted fan coil, inverter type, 220 V | X |  |  | X
KSIL018-H219 | 18,000 Btu/h Outdoor unit mini-split inverter, 19 SEER, 220 V | X | X |  | X
KSIL018-H219 | 18,000 Btu/h Wall mounted fan coil, inverter type, 220 V | X |  |  | X
KSIL024-H219 | 24,000 Btu/h Outdoor unit mini-split inverter, 19 SEER, 220 V | X | X |  | X
KSIL024-H219 | 24,000 Btu/h Wall mounted fan coil, inverter type, 220 V | X |  |  | X
KSIL030-H219 | 30,000 Btu/h Outdoor unit mini-split inverter, 17 SEER, 220 V | X | X |  | X
KSIL030-H219 | 30,000 Btu/h Wall mounted fan coil, inverter type, 220 V | X |  |  | X
KSIL036-H219 | 36,000 Btu/h Outdoor unit mini-split inverter, 17 SEER, 220 V | X | X |  | X
KSIL036-H219 | 36,000 Btu/h Wall mounted fan coil, inverter type, 220 V | X |  |  | X
KSIM009-H219 | 9,000 Btu/h Outdoor unit mini-split inverter, 19 SEER, 220 V | X | X |  | X
KSIM009-H219 | 9,000 Btu/h Wall mounted fan coil, inverter type, 220 V | X |  |  | X
KSIM012-H220 | 12,000 Btu/h Outdoor unit mini-split inverter, 20 SEER, 220 V | X | X |  | X
KSIM012-H220 | 12,000 Btu/h Wall mounted fan coil, inverter type, 220 V | X |  |  | X
KSIM018-H217 | 18,000 Btu/h Outdoor unit mini-split inverter, 17 SEER, 220 V | X | X |  | X
KSIM018-H217 | 18,000 Btu/h Wall mounted fan coil, inverter type, 17 SEER, 220 V | X |  |  | X
KSIM024-H217 | 24,000 Btu/h Outdoor unit mini-split inverter, 17 SEER, 220 V | X | X |  | X
KSIM024-H217 | 24,000 Btu/h Wall mounted fan coil, inverter type, 17 SEER, 220 V | X |  |  | X
KSWM009-H113 | 9,000 Btu/h Outdoor unit mini-split heat pump, 13 SEER, 110 V | X | X |  | X
KSWM009-H113 | 9,000 Btu/h Wall mounted fan coil, 110 V | X |  |  | X
KSWM012-H113 | 12,000 Btu/h Outdoor unit mini-split heat pump,13 SEER, 110 V | X | X |  | X
KSWM012-H113 | 12,000 Btu/h Wall mounted fan coil, 110 V | X |  |  | X
KSWM018-H213 | 18,000 Btu/h Outdooor unit mini-split heat pump,13 SEER, 220 V | X | X |  | X
KSWM018-H213 | 18,000 Btu/h Wall mounted fan coil, 220 V | X |  |  | X
KSWM024-H213 | 24,000 Btu/h Outdoor unit mini-split heat pump,13 SEER, 220 V | X | X |  | X
KSWM024-H213 | 24,000 Btu/h Wall mounted fan coil, 220 V | X |  |  | X
KSWM009-C113 | 9,000 Btu/h Outdoor unit mini-split cooling only, 13 SEER, 110 V | X | X |  | X
KSWM009-C113 | 9,000 Btu/h Wall mounted fan coil, 110 V | X |  |  | X
KSWM012-C113 | 12,000 Btu/h Outdoor unit mini-split cooling only,13 SEER, 110 V | X | X |  | X
KSWM012-C113 | 12,000 Btu/h Wall mounted fan coil, 110 V | X |  |  | X
KSWM018-C213 | 18,000 Btu/h Outdoor unit mini-split cooling only,13 SEER, 220 V | X | X |  | X
KSWM018-C213 | 18,000 Btu/h Wall mounted fan coil, 220 V | X |  |  | X
KSWM024-C213 | 24,000 Btu/h Outdoor mini-split cooling only,13 SEER, 220 V | X | X |  | X
KSWM024-C213 | 24,000 Btu/h Wall mounted fan coil, 220 V | X |  |  | X
KTHC009-E3H21B | 9,000 Btu/h Packaged terminal air conditioner, base unit, 220 V | X | X |  | X
KTHC012-E3H21B | 12,000 Btu/h Packaged terminal air conditioner, base unit, 220 V | X | X |  | X
KTHC015-E3H21B | 15,000 Btu/h Packaged terminal air conditioner, base unit, 220 V | X | X |  | X
CSM18C2P16 | 1.5 Ton Condensing unit, 16 SEER, 220 V | X | X | X |  | X
CSM24C2P16 | 2.0 Ton Condensing unit, 16 SEER, 220 V | X | X | X |  | X
CSM30C2P16 | 2.5 Ton Condensing unit, 16 SEER, 220 V | X | X | X |  | X
CSM36C2P16 | 3.0 Ton Condensing unit, 16 SEER, 220 V | X | X | X |  | X
CSM42C2P16 | 3.5 Ton Condensing unit, 16 SEER, 220 V | X | X | X |  | X
CSM48C2P16 | 4.0 Ton Condensing unit, 16 SEER, 220 V | X | X | X |  | X
CSM60C2P16 | 5.0 Ton Condensing unit, 16 SEER, 220 V | X | X | X |  | X
CSM18H2P16 | 1.5 Ton Heat pump unit, 16 SEER, 220 V | X | X | X |  | X
CSM24H2P16 | 2.0 Ton Heat pump unit, 16 SEER, 220 V | X | X | X |  | X
CSM30H2P16 | 2.5 Ton Heat pump unit, 16 SEER, 220 V | X | X | X |  | X
CSM36H2P16 | 3.0 Ton Heat pump unit, 16 SEER, 220 V | X | X | X |  | X
CSM42H2P16 | 3.5 Ton Heat pump unit, 16 SEER, 220 V | X | X | X |  | X
CSM48H2P16 | 4.0 Ton Heat pump unit, 16 SEER, 220 V | X | X | X |  | X
CSM60H2P16 | 5.0 Ton Heat pump unit, 16 SEER, 220 V | X | X | X |  | X
ARAM1830H2P | 1.5 Ton - 2.5 Ton Air handler, 16 SEER units | X |  | X |  | X
ARAM3642H2P | 3.0 Ton - 3.5 Ton Air handler, 16 SEER units | X |  | X |  | X
ARAM4848H2P | 4.0 Ton Air handler, 16 SEER units | X |  | X |  | X
ARAM6060H2P | 5.0 Ton Air handler, 16 SEER units | X |  | X |  | X
CRM18C2P13 | 1.5 Ton Condensing unit, 13 SEER, 220 V | X | X | X |  | X
CRM24C2P13 | 2.0 Ton Condensing unit, 13 SEER, 220 V | X | X | X |  | X
CRM30C2P13 | 2.5 Ton Condensing unit, 13 SEER, 220 V | X | X | X |  | X
CSM36C2P13 | 3.0 Ton Condensing unit, 13 SEER, 220 V | X | X | X |  | X
CSM42C2P13 | 3.5 Ton Condensing unit, 13 SEER, 220 V | X | X | X |  | X
CSM48C2P13 | 4.0 Ton Condensing unit, 13 SEER, 220 V | X | X | X |  | X
CSM60C2P13 | 5.0 Ton Condensing unit, 13 SEER, 220 V | X | X | X |  | X
CSM60C2P14 | 5.0 Ton Condensing unit, 14 SEER, 220 V | X | X | X |  | X
CSM36C5P13 | 3.0 Ton Condensing unit, 13 SEER, 220 V, 3 ph | X | X | X |  | X
CSM48C5P13 | 4.0 Ton Condensing unit, 13 SEER, 220 V, 3 ph | X | X | X |  | X
CSM60C5P13 | 5.0 Ton Condensing unit, 13 SEER, 220 V, 3 ph | X | X | X |  | X
CSM60C5P14 | 5.0 Ton Condensing unit, 14 SEER, 220 V, 3 ph | X | X | X |  | X
CRM18H2P13 | 1.5 Ton Heat pump unit, 13 SEER, 220 V | X | X | X |  | X
CRM24H2P13 | 2.0 Ton Heat pump unit, 13 SEER, 220 V | X | X | X |  | X
CRM30H2P13 | 2.5 Ton Heat pump unit, 13 SEER, 220 V | X | X | X |  | X
CSM36H2P13 | 3.0 Ton Heat pump unit, 13 SEER, 220 V | X | X | X |  | X
CSM42H2P13 | 3.5 Ton Heat pump unit, 13 SEER, 220 V | X | X | X |  | X
CSM48H2P13 | 4.0 Ton Heat pump unit, 13 SEER, 220 V | X | X | X |  | X
CSM60H2P13 | 5.0 Ton Heat pump unit, 13 SEER, 220 V | X | X | X |  | X
CSM60H2P14 | 5.0 Ton Heat pump unit, 14 SEER, 220 V | X | X | X |  | X
CSM36H5P13 | 3.0 Ton Heat pump unit, 13 SEER, 220 V, 3 ph | X | X | X |  | X
CSM48H5P13 | 4.0 Ton Heat pump unit, 13 SEER, 220 V, 3 ph | X | X | X |  | X
CSM60H5P13 | 5.0 Ton Heat pump unit, 13 SEER, 220 V, 3 ph | X | X | X |  | X
CSM60H5P14 | 5.0 Ton Heat pump unit, 14 SEER, 220 V, 3 ph | X | X | X |  | X
ARAM18H2P | 1.5 Ton Multi-position air handler, 13 SEER units | X |  | X |  | X
ARAM24H2P | 2.0 Ton Multi-position air handler, 13 SEER units | X |  | X |  | X
AXAM24H2P | 2.0 Ton Multi-position air handler, 13 SEER units (ARAM25H2P) | X |  | X |  | X
ARAM30H2P | 2.5 Ton Multi-position air handler, 13 SEER units | X |  | X |  | X
AXAM30H2P | 2.5 Ton Multi-position air handler, 13 SEER units (ARAM31H2P) | X |  | X |  | X
ARAM36H2P | 3.0 Ton Multi-position air handler, 13 SEER units | X |  | X |  | X
ARAM42H2P | 3.5 Ton Multi-position air handler, 13 SEER units | X |  | X |  | X
ARAM48H2P | 4.0 Ton Multi-position air handler, 13 SEER units | X |  | X |  | X
ARAM60H2P | 5.0 Ton Multi-position air handler, 13 SEER units | X |  | X |  | X
CCUA1824B1A | 1.5 - 2.0 Ton Multi-position cased coil | X |  | X |  | X
CCUA2430A1A | 2.0 - 2.5 Ton Multi-position cased coil | X |  | X |  | X
CCUA2430B1A | 2.0 - 2.5 Ton Multi-position cased coil | X |  | X |  | X
CCUA3036A1A | 2.5 - 3.0 Ton Multi-position cased coil | X |  | X |  | X
CCUA3036C1A | 2.5 - 3.0 Ton Multi-position cased coil | X |  | X |  | X
CCUA3642C1A | 3.0 - 3.5 Ton Multi-position cased coil | X |  | X |  | X
CCUA3642D1A | 3.0 - 3.5 Ton Multi-position cased coil | X |  | X |  | X
CCUA4248D1A | 3.5 - 4.0 Ton Multi-position cased coil | X |  | X |  | X
CCUA4860C1A | 4.0 - 5.0 Ton Multi-position cased coil | X |  | X |  | X
CCUA4860D1A | 4.0 - 5.0 Ton Multi-position cased coil | X |  | X |  | X
GS80M050A3A | Gas furnace 80% AFUE, 50,000 Btu/h | X |  | X |  | X
GS80M080B4A | Gas furnace 80% AFUE, 80,000 Btu/h | X |  | X |  | X
GS80M080C4A | Gas furnace 80% AFUE, 80,000 Btu/h | X |  | X |  | X
GS80M100C5A | Gas furnace 80% AFUE, 100,000 Btu/h | X |  | X |  | X
GS80M100D5A | Gas furnace 80% AFUE, 100,000 Btu/h | X |  | X |  | X
GS80M120D5A | Gas furnace 80% AFUE, 120,000 Btu/h | X |  | X |  | X
Product Number | Description | 1 Year Standard Base | 3 Year limited parts | 3 Year Replacement - No Hassle
MS035P2PWO | Maxwell electric water heater, 3.5 kW | X | X | X
MS045P2PWO | Maxwell electric water heater, 4.5 kW | X | X | X
MS055P2PWO | Maxwell electric water heater, 5.5 kW | X | X | X
MS070C2PDO | Maxwell electric water heater, ETL, 7.0 kW | X | X | X
MS080C2PBU | Maxwell electric water heater, ETL, 8.0 kW | X | X | X
MS080C2PSU | Maxwell electric water heater, ETL, 8.0 kW | X | X | X
MS080C2PDU | Maxwell electric water heater, ETL, 8.0 kW | X | X | X
MS100C2PBU | Maxwell electric water heater, ETL, 10.0 kW | X | X | X
MS100C2PDU | Maxwell electric water heater, ETL, 10.0 kW | X | X | X
MS100C2PSU | Maxwell electric water heater, ETL, 10.0 kW | X | X | X
MS120C2PBU | Maxwell electric water heater, ETL, 12.0 kW | X | X | X
MS120C2PSU | Maxwell electric water heater, ETL, 12.0 kW | X | X | X
MS120C2PDU | Maxwell electric water heater, ETL, 12.0 kW | X | X | X
MS150C2PBU | Maxwell electric water heater, ETL, 15.0 kW | X | X | X
MS150C2PSU | Maxwell electric water heater, ETL, 15.0 kW | X | X | X
MS150C2PDU | Maxwell electric water heater, ETL, 15.0 kW | X | X | X
MS180C2PBU | Maxwell electric water heater, ETL, 18.0 kW | X | X | X
MS180C2PSU | Maxwell electric water heater, ETL, 18.0 kW | X | X | X
MS180C2PDU | Maxwell electric water heater, ETL, 18.0 kW | X | X | X
MS210C2PBU | Maxwell electric water heater, ETL, 21.0 kW | X | X | X
MS210C2PSU | Maxwell electric water heater, ETL, 21.0 kW | X | X | X
MS210C2PDU | Maxwell electric water heater, ETL, 21.0 kW | X | X | X
MS150C2PMU | Maxwell electric water heater, ETL, metal case, 15.0 kW | X | X | X
MS180C2PMU | Maxwell electric water heater, ETL, metal case, 18.0 kW | X | X | X
MS210C2PMU | Maxwell electric water heater, ETL, metal case, 21.0 kW | X | X | X
Product Number | Description | 1 Year Base
MASF024-N1 | Maxwell commercial air curtain, 24", Cool Storm series, 115 V | X
MASF036-N1 | Maxwell commercial air curtain, 36", Cool Storm series, 115 V | X
MASF048-N1 | Maxwell commercial air curtain, 48", Cool Storm series, 115 V | X
MASF060-N1 | Maxwell commercial air curtain, 60", Cool Storm series, 115 V | X
MAFH024-E2 | Maxwell commercial/industrial air curtain, 24", Hot Storm series, w/ electric heater, 220 V | X
MAFH036-E2 | Maxwell commercial/industrial air curtain, 36", Hot Storm series, w/ electric heater, 220 V | X
MAFH048-E2 | Maxwell commercial/industrial air curtain, 48", Hot Storm series, w/ electric heater, 220 V | X
MAFH060-E2 | Maxwell commercial/industrial air curtain, 60", Hot Storm series, w/ electric heater, 220 V | X
MASH024-W1 | Maxwell commercial/industrial air curtain, 24", Hot Water series, w/ water heating, 115 V | X
MASH036-W1 | Maxwell commercial/industrial air curtain, 36", Hot Water series, w/ water heating, 115 V | X
MASH048-W1 | Maxwell commercial/industrial air curtain, 48", Hot Water series, w/ water heating, 115 V | X
MASH060-W1 | Maxwell commercial/industrial air curtain, 60", Hot Water series, w/ water heating, 115 V | X
MGBWA070 | Maxwell wall hung gas combi boiler, 70,000 Btu/h, 110 V | X
MGBWA090 | Maxwell wall hung gas combi boiler, 90,000 Btu/h, 110 V | X
MGBWA0100 | Maxwell wall hung gas combi boiler, 100,000 Btu/h, 110 V | X
a) Standard Base Warranty
à All Product registered > 75 days from Klimaire shipment / invoice date reverts to base warranty
b) 10 year Limited Warranty (Heat Exchanger)
Central Air conditioning Products registered < 75 days from Klimaire shipment / invoice date
c) 5 year Limited Warranty (compressorr)
à All condensing units registered < 75 days from Klimaire shipment / invoice date
d) Commercial Use Warranty
à All products registered as commercial use in product registration form
à All products registered and shows apt/unit # in product registration form
àAll poducts registered > 75 days of installation date from Klimaire shipment / invoice date reverts to base warranty
e) 3 year limited parts Warranty
à All Maxwell Electric water heater Products registered < 75 days from Klimaire shipment / invoice date
f) 3 year replacement Warranty
à If customer purchases this warranty an invoice should be generated and registered by Klimaire in the customer warranty record and give this
invoice No.as a confirmation to customer via E-mail . Customer must register the unit with in 75 days from Klimaire shipment/invoice date.
à All Maxwell Electric water heater Products registered < 75 days from Klimaire shipment / invoice date reverts to 1 year.